## Sheet1
SPRAT Power Budget
Desc.	Manufacturer/Type	Model	Input [V]		Output [V]		Current [A]	Power [W]	Notes
Tungsten Lamp	various	typical	12	DC	n/a		3.00	36.00	poss. replace by Cree LED

Arc Lamp	Oriel		300-1000	AC / DC	n/a
Arc Lamp PSU	Oriel	6060 Spectral	230	AC	1200	DC	0.01	12.00	typical

Andor CCD	Andor	iDus 420-BV	5.0	DC	n/a
			7.6	DC	n/a
			15.0	DC	n/a
			-15.0	DC	n/a
Andor PSU	Stontroncs	T3404AD rev 2	90-264	AC	5	DC	3.50	17.50
					7.6	DC	4.00	30.40
					15	DC	0.10	1.50
					-15	DC	0.10	1.50

Shutter	Uniblitz		36	DC	n/a
Shutter PSU		PSU66A-8	100-240	AC	36	DC	1.83	66.00

Arduino	Freetronics	EtherMega	12	DC	na			0.35	Worst case power usage

Tungsten Lamp ON/OFF	12V Relay SPST	typical	12	DC	n/a			0.50
Arc Lamp ON/OFF	12V Relay DPDT	typical	12	DC	n/a			0.50	DPDT for full isolation
Mirror IN/OUT	12V Pneumatic valve	typical	12	DC	n/a			0.50
Grism IN/OUT	12V Pneumatic valve	typical	12	DC	n/a			0.50
Rotate Grism NORMAL/BLUE	12V Pneumatic valve	typical	12	DC	n/a			0.50

USB extender	Icron	Ranger 2224	5	DC	n/a				Assumed model
USB extender PSU	Icron		100-240	AC	5	DC	3.00	15.00

Total					167.75